Physics 197: 
Resonance in Columns of Air
Page 2 of 5

San Diego Mesa College
Name:

Physics 197 Laboratory Experiment
Date: 

Title: Resonance in Columns of Air
Group Members: 


Objective: 
To test the theoretical formula for the speed of sound through a gas by an indirect measurement of the wavelength associated with a source of a known frequency, and to determine the frequency of an unknown source of sound. 

Theory: 
The speed of any wave in any medium follows the relationship given by:

                           (1)     
[image: image1.wmf])

(

)

(

)

/

(

1

-

=

s

f

m

s

m

v

n

propagatio

l


 The speed of mechanical waves through a fluid medium is described by:

                            (2)    V (m/s) = 
[image: image2.wmf]r

/

B

 


B is the bulk modulus and 
[image: image3.wmf]r

 is the density.

For sound waves propagating through an ideal gas, the speed of sound is given by:

                             (3)    
[image: image4.wmf]M

RT

v

sound

g

=



where M is the molecular weight, R is the ideal gas constant and T is the temperature of the gas. ( is the ratio of the specific heat at constant pressure to the specific heat at constant volume for a diatomic gas. 

The elasticity of air does not significantly change for modest temperature changes.  The density does.  A 
simple but very accurate equation describing the speed of sound in air is given by:


      (4)     v
[image: image5.wmf]sound

 =  [331 + 0.61T(C)] m/s    where T is in Celsius.

Equipment: 
Deionized Water
Resonance Column


Tuning Forks
Rubber Strikers

Setup and Procedure:

Do not touch the vibrating tuning fork to the glass tubes as they may shatter
Part I: 
Determination of the resonant wavelengths
Standing waves will be created in a column of air by a tuning fork of known frequency by adjusting the height of the water column until resonance occurs.  Resonance will be accompanied by a loud ‘hum’. When resonance has been achieved the water level will determine the location of a node.

To create the resonance condition, strike the tuning fork on the rubber block (and only the rubber block). Then place the fork such that the ends vibrate horizontally over the opening to the resonance column.

Record the temperature of the air inside the resonance column in your data table. Record the position of the water column for two to three resonances for each of two different tuning forks in the data table. Be as accurate as possible when recording the position of the water column.

Data:

	Room Temperature (C)
	

	Molar Mass (kg/mol)
	

	Known Fork 1
	Water Level 1 (m)
	Water Level 2 (m)
	Water Level 3 (m)

	(Hz)
	
	
	

	Known Fork 2
	
	
	

	(Hz)
	
	
	

	Unknown Fork
	
	
	

	
	
	
	


Analysis:
The antinode does not occur directly at the end of the air column( due to edge effects) and but just outside the tube, and the water is not an ideal node, the distance of the first water level does not correspond exactly to a quarter-wavelength. However, this error may be eliminated since the same error is present in each of our measurements.

Since water level 2 corresponds to three-quarters of a wavelength plus the error, and water level one corresponds to one-quarter of a wavelength plus the error, this error can be eliminated. (L2+()-( L1+() = L2-L1= (/2  or if 3 resonances are heard, L
[image: image6.wmf]3

 - L
[image: image7.wmf]1

 = 
[image: image8.wmf]l


1.  Calculate the wavelength of both known forks and the single unknown fork in the space provided.

2. Use equation (4), for the theoretical speed of sound in  air as a function of temperature, to calculate the expected propagation speed of the sound wave in the space provided.

3.  Using equation (1) to calculate the actual propagation speed in the air column in the space provided for each of the known tuning forks.

4. Calculate the percent error between the theoretical and experimentally determined speed of sound for each of the known tuning forks. Percent error is given by:


[image: image9.wmf]100

*

%

exp

al

theroretic

erimental

l

theoretica

v

v

v

Error

-

=


5. Determine the frequency of the unknown tuning fork by applying equations (1) and (4)
Conclusion: 
Briefly discuss the physics involved in the experiment, summarize the data, address potential sources of error and methods to reduce or eliminate them, and state whether or not the experimental results validate the theory.

_1315043225.unknown

_1315043531.unknown

_1315043940.unknown

_1315043953.unknown

_1315043924.unknown

_1315043310.unknown

_1272383393.unknown

_1272385594.unknown

_1272371815.unknown

